| GÁBOR SZABÓ MSc in Building Engineering MSc, 8. semester University of Debrecen Faculty of Engineering |  |
| --- | --- |

Supervisor:

Ferenc Kalmár PhD professor, DE MK

Analyis of the absorptive refrigeration system using solar energy

First part of this paper presents the solar energy conditions in Hungary, and shortly describes the solar energy utilization solutions. Then examines a specific area of solar energy. The solar energy for cooling as an option
Furthermore the paper is about to specify the hot water absorption chilled system’s efficiency, in specially the low-efficiency systems.
In the final part of this paper analysed the efficiency of absorbing chilled system which was functioned with parabolic solar collector. In the end you can see my conclusions