| MÁRK NÉMETH MSc forestry engineering course (full-time education) Unified, 9. semester University of West Hungary Faculty of Forestry |  |
| --- | --- |

Supervisor:

Gergely Markó PhD associate professor , NYME EMK

TruPulse 360B laser rangefinder as compass theodolite

Summary

The aim of my research was, may the GPS technology be replaced by TruPulse 360B in forests, and may the device be suitable for mapping tasks with compass methods.
I prepared a test link traverse. Both the starting and ending points of line I defined with RTK GPS technology of Leica SmartRover. I consolidated the stations of traverse with Sokkia PowerSET.
The lines of the traverse I measured three different mode. The first time I used the TruPulse 360B with monopod, the second time I used TruPulse 360B with tripod and the last time I used WILD T0 teodolit.
The results of my research are the TruPulse 360B can be appropriate in the sylviculture activity and the accuracy of instrument is applicable to compass traversing.
My own development software, which called Compass Traversing, The TruPulse 360B and a high quality GPS applicable to search the stations of traverse and assign forest’s objects.
In my thesis I detail the user interface of the Compass Traversing v1.0 software with screenshots.