| ENGELBERT CS. RUFF Electrical Engineering BSc, 9. semester Óbuda University Kálmán Kandó Faculty of Electrical Engineering | LASZLO SZIGETHY Electrical Engineering BA, 12. semester Óbuda University Kálmán Kandó Faculty of Electrical Engineering |
| --- | --- |
| GABOR SZIJARTO Electrical Engineering BSc, 7. semester Óbuda University Kálmán Kandó Faculty of Electrical Engineering |  |

Supervisor:

Dr. Peter Kadar PhD, OE KVK

The supplies for electric vehicle needed dynamic simulations

This study focuses on the development of the electric vehicle (in short: EV) energy-consumption as of today and in the future. We present in details the current e-car usage behavior the car-types and the different types of charging-station.
We discuss the results of the dynamic simulation of the power supply needs for the projected Hungarian EV population between 2012 and 2020. We have developed a method for tracking the exchange of the aging legacy Hungarian vehicle fleet for the newly introduced e-cars. We have established specific custom groups of Hungarian car-owners and their usage habits. We have also analyzed the current e-car types and their usage. We have defined two types of car charging solutions based on the e-car types. We have created a table to show the difference in the power consumption based on the projected development of the e-car population (see diagram below). In addition we have created an easy formula for the calculation:
e-car type (kWh/km) x usage (km/year) x number of sold e-cars = charging demand (MWh),
based on this formula an eventual change in the number of sold e-cars it is easy to recalculate the change in the consumption.
In our opinion, e-cars will roll mostly in the cities. While in 2012 Budapest and Győr will be the major center, towards 2020 all major cities will adapt (see picture). 
In our view the by 2020 0.3% of the total consumption will be e-car related. We have conducted several series of measurements on wall-outlet and public charge-stations to discover their practical use for e-cars. We have tested the Citroën C-Zero for 3 months in a daily routine to obtain the real e-car usage. We evaluate the ELMŰ (local E-Provider) energy-consumption data to estimate the impact on the power system. These results are supported by real-life measurements by equipment attached to the ELMŰ charge-station in the Váci Str. We have used the PQube type of measure-register device to collect data for two months. By this we could evaluate the impact of the car-charging (voltage quality) on the power-grids. We conclude that, by considering the e-car capabilities, usage statistics in an urban area a more correct planning is possible.
Further studies are focusing on the legal aspects of the EV-recharging, especially the development of the e-infrastructure. We are developing a proposal for the regulatory adaptation.