| HELGA FEISZTHUBER Molecular Bionics BSc, 7. semester Pázmány Péter Catholic University Faculty of Information Technology |  |
| --- | --- |

Supervisor:

Dr. Gyöngy Miklós associate professor, PPKE ITK

Ultrasund for Transdermal Insulin Delivery

The population of young (<5 years) people suffering from type 1 diabetes mellitus is dramatically increasing. The topical application of insulin is made difficult by the low permeability
and lipophilic nature of the outer layer of skin (the stratum corneum). While needle injection
is the established method of insulin delivery, this is an unfavourable option mainly for young
children. The use of ultrasound in transdermal drug delivery (sonophoresis) has been shown
to be a viable method for a wide variety of substances including insulin, however its clinical
use for diabetes therapy is still hindered. In the current work, low-frequency ultrasound (40
and 44 kHz, 35 W electric power, 50% duty cycle) generated by an ultrasonic cleaner bath
and a piezoelectric transducer in a perspex holder was used to investigate sonophoresis in agar
hydrogel, stratum corneum and porcine skin models. As a result we observed bores and holes
on agar gel with diameters in the range of approximately 40-400 um, which is suitable for drug
delivery. Ultrasonic insonation of pig skin has shown that the method is a good way to increase
the permeability of pig skin, making transdermal drug delivery possible. On stratum corneum
model it has been shown that with hydrophone measurements formation of pits turns up as
an increase in pressure amplitude. This work focuses on cavitation detection, as a way of the
monitoring the quantity of delivered drugs, which is one of the a main parameters of diabetes
therapy.
Based on our results this work contains construction plans of a sonophoresis based insulin
pump, which could be a good starting point for a new, needle-free device used in clinical and
daily application.