| ZOLTÁN JUHÁSZ-NAGY Mechatronics Engineering BSc, 7. semester University of Pannonia Faculty of Engineering | RÓBERT KATONA Mechatronics Engineering BSc, 7. semester University of Pannonia Faculty of Engineering |
| --- | --- |
| LASZLO PETER KIS mechatronics engineer BSc, 7. semester University of Pannonia Faculty of Engineering |  |

Supervisors:

István Szalai associate professor, PE MK

Barnabás Horváth junior research fellow, PE MK

The design and implementation of a labor instrument for the measurement of the sedimation of MR fluids

The purpose of the work was to design and build a measuring system which is able to determine the sedimentation of magnetorheological fluids. During the project it was necessary to solve the detection with a lineal unit along the full length of a 50 cm sample, and to design a detector head which is suitable for the analysis of sedimentation of the fluids.

To study the magnetic suspensions we developed a magnetic detector working on the LVDT principle. An analog cicuit was designed to drive the LVDT coil and evaulate the small output signals.
Following this, it was necessary to solve the signal processing of the output signal and the communication with a computer. We used the low power MSP430 to solve this job. The detector can be moved along the sample with a stepper motor linear unit. The measurement data are handled by a LabVIEW based data acquisition software.

On the basis of the test measurements we can conclude that the method is appropriate to study the sedimentation of dispersions.