| CSILLA FÜLEP physicist MSc, 1. semester Budapest University of Technology and Economics Faculty of Natural Sciences |  |
| --- | --- |

Supervisor:

Dr. Emőke Lőrincz associate professor, BME TTK

Characterization of new type, semiconductor-based photomultipliers

Nowadays, SiPM-s (Silicon Photomultipliers) play an important role in the construction of most kind of electronic devices. They partly replace PMT-s (Photomultiplier Tubes) and APD-s (Avalanche Photodiodes) in different fields, for example in high-energy physics, astrophysics and medical imaging. Compared to PMT-s the greatest benefit of SiPM-s is that they are insensitive to external magnetic fields because of their structure and operating principle. In addition, the gain of the SiPM-s can reach the value of 105-106, which is in the same order of magnitude as that of PMT-s. However, in case of SiPM-s this large amplification can be realized at a considerably smaller bias voltage, around 20-30 V. As a consequence, their application neither needs an external amplifier, such as in case of APD-s, nor a high-voltage power supply, as in case of PMT-s, which substantially limit their usefulness. Furthermore, the small size of SiPM-s and their relatively low manufacturing cost per channel significantly help their appicability in a wide range of fields.

In my work, I studied solid-state photoelectron multipliers, both in the literature and through measurements. During my measurements, an analog solid-state multi-pixel photon counter was used, produced by Hamamatsu (type C11206-0404FB(X)). The purpose of my measurements was to examine the active and passive features of the device. Among the passive characteristics I studied the reflection with respect to the wavelength and angle of incidence. Among the active features I determined the dynamic range of the pixels, optical cross-talk between the pixels, and the pixel uniformity. According to my measurements, the response of the detector for low-intensity excitation is linearly proportional to the excitation power, and for higher intensities it shows a saturation. In my additional measurements I also investigated luminescent light coming from cerium-doped LYSO (a sort of scintillator crystal used to detect gamma-photons) due to UV- and gamma-photon excitation. According to the literature, the spectral response of LYSO:Ce for optical and gamma excitation is the same, therefore I examined the equivalence of the two types of excitation. During my measurements I modified several parameters of the measuring system, for example I performed measurements with scintillator crystals of various size, and with different radiation sources as well.