| TAMÁS GERECSEI physics BSc, 3. semester Eötvös Loránd University Faculty of Science |  |
| --- | --- |

Supervisor:

Bálint Szabó assistant professor, ELTE TTK

The examination of anomalous pressure in microscopic drops.

Nowadays, more and more attention is turned to single-cell level biochemical experiments, especially to sequecing the cell's DNA and/or RNA.
The reason for that, is the spreading of the so-called second generation DNA sequencing techniques, which are capable of extracting
the almost complete genetic information of a single cell, with accuracy that was unimagineable earlier.
Because of the high price of biochemical reagents, the isolating of sigle-cells in submicroliter drops is indisposeable.
The isolation of cells must be automatized, for the extracted biological information to be statistically relevant.
For that purpose, the hungarian Cell Sorter Inc. developed an automated micropipette that is capable of cell-sorting with real-time
monitoring. Such a device is used at the Bilogical Physics Department at ELTE (Eötvös Loránd University).

The understanding of pressure conditions at the tip of the micropipette is essential for the correct execution of drop deposition.

In my work, I experimentally examined the critical pressure of the deposition.
Critical pressure means the specific pressure value, at whcich the drop leaves the tip.
In my experiments, I measured the radius of the bulking water surface, as a function of the pressure applied.
Apart from the usually utilised water, I executed the measurements with silicon oil as a reference, and
I also examined the hysteretic properties of the phenomon.
During measurements I used videomicroscpy, and manual image analysis.
As a result of the data evaluation we discovered an anomalous pressure component. After considering possible
explanations, we identified this component as the effect of evaporation of the free water surface.
Based on the results we develoved a new deposition tehcnique, which is used ever since.
The results of the thesis were published in the Applied Physics Letters journal.