| PETER BALLAY Hydraulic engineer BSc, 10. semester Eötvös József College |  |
| --- | --- |

Supervisor:

Ernő Dittrich External instructor, Hidro Consulting Kft.

Hydraulic analysis of a regional hydraulic network

My TDK theme is Kiskunfélegyháza settlement's planned regional water ditribution system's hydraulic and water age analysis. This system will provide safe water to 5 other settlements. My analysis were carried out by EPANET program, which developed by the US government, and made the source code public. I detail the occurring hydraulic network modeling problems in my work, their solutions, and give suggestions for the safe operation of the system. I also analyzed the water quality deterioration, which is due to the long residence times and to minimize the possibilities of this.