| GERGELY SZABÓ BSc in Electrical Engineering BSc, 9. semester University of Pannonia Faculty of Information Technology |  |
| --- | --- |

Supervisor:

Attila Fodor professor's assistant, PE MIK

Design of a low-power experimental wind turbine with a permanent magnet direct current generator

This thesis' aim is to desing a low-power experimental wind turbine with a permanent magnet direct current generator. In the first part of the task I made the characterization of the wind as a physical phenomena which is the input of the system in order to get a better understanding and learn about its physical limits.

In the significant part of the thesis I demonstrate the choosing and the designing and the construction of the rotating electro-mechanical machine. The first plan was to find and buy a dirrect current machine which parameters and characteristics' matches my requirements, but I rejected it soon because I didn't find the correct machine. Then I decided to modify a commercial ventilator in order to reduce the taking care of mechanical problems therefore I clould concentrate on the electrical parameters. The constructed rotating electro-mechanical machine is a direct current, permanent magnet, electric commutation generator in which I designed and constructed the stator winding, the rotors and the commutator. I present several alternatives from which I chosed according to economic and practicability standpoints.

I made the model of the electro-mechanical system in MATLAB Simulink enviroment, striving to get a modell that simulates the real system with satisfactory complexity.

In the rest part of the thesis I introduce one possibilyty to measure the geometrical and eletrical frequency an the amature current for which I made microcontroller based circuit and I wrote the program running on it.

Keywords:
windgenerator, direct current generator, electric commutation, modeling, rpm measurement